## Slide 1: area 3 – red

## Slide 2: area 3 – red

## Slide 3: area 3 – red
average of 3 spectra

## Slide 4: area 3 – red
average of 3 spectra

## Slide 5: area 3 – red
red
parchment

## Slide 6: area 3 – red
red
parchment
normalized to the parchment band at 1940 nm

## Slide 7: area 3 – red
red
parchment
normalized to the parchment band at 1940 nm, plus variant w/ parchment subtracted
possible lead white (weak 1448)
insect-based red dye? (520 and 565 vs. 510 and 540 for plant-based); derivative at ~603nm
trace egg yolk or wax??
w/ parchment subtracted
2313
2350
1448
569
530
392

## Slide 8: area 3 – red
search on Lgrefl spectrum (350-1050) turns up mostly insect-based dyes

## Slide 9: area 3 – red
search on ABS spectrum seems basically the same, though direct comparison is more difficult

## Slide 10: area 3 – red
search on ABS subtracted spectrum seems basically the same
in all cases, the top hit was a plant-based dye, but MORE of the hits are insect-based.

## Slide 12: area 13 – purple

## Slide 13: area 13 – purple

## Slide 14: area 13 – purple
average of 3 spectra

## Slide 15: area 13 – purple
average of 3 spectra

## Slide 16: area 13 – purple
purple
parchment

## Slide 17: area 13 – purple
purple
parchment
normalized to the parchment band at 1940 nm

## Slide 18: area 13 – purple
normalized to the parchment band at 1940 nm, plus variant w/ parchment subtracted
possible lead white (weak 1445)
insect-based red dye – maybe lac dye? (520 and 565 vs. 510 and 540 for plant-based); double derivative at ~595 and 691 nm – the 595 der. might be the red dye
ultramarine/lapis as blue mixer – 691 nm derivative peak
trace egg yolk or wax??
purple
parchment
w/ parchment subtracted
2313
2348
1445
573
532
378
654
493

## Slide 19: area 13 – purple
search on refl spectrum, 350-1050 nm;
mostly insect bases, but not great matches

## Slide 20: area 13 – purple
search on refl spectrum, 350-1050 nm;
mostly insect bases, lac dye actually looks like a pretty good match. Lac + blue??

## Slide 21: area 13 – purple
search on ABS spectrum, 350-1050 nm;
mostly insect bases, lac dye actually looks like a pretty good match. Lac + blue??

## Slide 22: area 13 – purple
search on subtracted abs spectrum, 350-1050 nm; mostly insect bases and more cochineal than lac, but less visually aligned than with the refl lac matches…

## Slide 24: area 14 – purple

## Slide 25: area 14 – purple

## Slide 26: area 14 – purple
average of 3 spectra

## Slide 27: area 14 – purple
average of 3 spectra

## Slide 28: area 14 – purple
purple
parchment

## Slide 29: area 14 – purple
purple
parchment
normalized to the parchment band at 1940 nm

## Slide 30: area 14 – purple
normalized to the parchment band at 1940 nm, plus variant w/ parchment subtracted
possible lead white (weak 1445)
insect-based red or purple dye since abs bands are high – (520 and 565 vs. 510 and 540 for plant-based); possible combination with a plant-based red giving center band at 556 nm?
derivative at ~702 nm – possible organic purple?
trace egg yolk or wax??
purple
parchment
w/ parchment subtracted
2309
2350
1445
573
534
392
650
556

## Slide 31: area 14 – purple
search on refl spectrum, 350-1050 nm;
mostly insect bases
search on refl spectrum, 350-2500 nm;
mostly insect bases plus blue

## Slide 32: area 14 – purple
search on abs spectrum, 350-1050 nm;
mostly insect bases, lac is better match.
Lac plus blue?
search on abs spectrum, 350-2500 nm;
mostly insect bases, lac is better match.
Lac plus blue?

## Slide 33: area 14 – purple
search on subsractecd abs spectrum, 350-2500 nm;
similar…but middle peak is not explained
search on subsractecd abs spectrum, 350-1050 nm;
mostly insect bases, lac is slightly better match.
Lac plus blue?

## Slide 35: area 15 – parchment

## Slide 36: area 15 – parchment

## Slide 37: area 15 – parchment
average of 3 spectra

## Slide 38: area 15 – parchment
average of 3 spectra

## Slide 40: comparisons
purple
purple
red

## Slide 41: comparisons
purple
purple
red
parchment

## Slide 42: comparisons
derivative of refl spectrum